2. Construction science principles

# Worksheet 18: U-values (learner)

A U-value is a measure of heat loss/gain found within building materials used for walls, floors and roofs. U-values are always measured in W/m2K (watts per metre squared kelvin).

The higher the U-value of a material, the worse it performs in relation to retaining heat. So materials with a low U-value have high levels of heat retention.

Calculate the U-value of a wall consisting of the following elements:

- RSi = 0.125

- 100mm blockwork = thermal conductivity (K) = 0.84

- 100mm cavity = R = 0.1

- 100mm aircrete blocks K = 0.95

- 100mm external insulation R =2.0845

- 15mm render K = 0.45